## Preparation Details
Preparation
Hanna Code | Hi7582-0 | Description | 400ppm Ca+1300 ppm Mg
Preparation Date | 2025/02/06 | Preparation Hour | 06:43 | Preparation Week | 6/2025
|  |  |  | STD Matrix | sw3 | STD Exp (days) | 60 | STD Exp (Date) | 2025/04/07 | Storage STD | Refrigerator
Note | 400ppm Ca+1300 ppm Mg | Operator | Brigitta P
STD Volume/Weight | 100
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR60 | 400 | 4 | 4 | 0 | 0 % | -
MR100 | 400 | 13 | 13 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 2/6/2025 6:44:42 AM | 0L | BCCJ7117 | MR60 | 400 | mg/L | 4 | 4 | Micropipette SARTORIUS 5ML | 60.90 mL | Brigitta P |  | Micropipette SARTORIUS 5ML |  |  | ISO LAB 100 ML | 94458-100ML | 2026/10/15
2 | 2/6/2025 6:44:59 AM | 0C | HC45480079 | MR100 | 400 | mg/L | 13 | 13 | Micropipette SARTORIUS 5ML | 27.50 mL | Brigitta P |  | Micropipette SARTORIUS 5ML |  |  | ISO LAB 100 ML | 1703790100
Preparation Notes
Date | Type | Description | Operator