## Preparation Details
Preparation
Hanna Code | HI7582 | Description | 550ppm Ca+1300ppm Mg
Preparation Date | 2025/02/03 | Preparation Hour | 10:58 | Preparation Week | 6/2025
|  |  |  | STD Matrix | SW3 | STD Exp (days) | 60 | STD Exp (Date) | 2025/04/04 | Storage STD | REFRIGERATOR
Note |  | Operator | Brigitta P
STD Volume/Weight | 500
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR60 | 0 | 5.5 | 5.5 | 0 | 0 % | -
MR100 | 0 | 13 | 13 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 2/3/2025 11:02:06 AM | 0C | HC45480079 | MR100 | 0 | mg/L | 13 | 13 |  | 50.50 mL | Brigitta P | [5 empty] | 1703790100
2 | 2/3/2025 11:02:23 AM | 0L | BCCJ7117 | MR60 | 0 | mg/L | 5.5 | 5.5 |  | 69.20 mL | Brigitta P | [5 empty] | 94458-100ML | 2026/10/15
Preparation Notes
Date | Type | Description | Operator