## Preparation Details
Preparation
Hanna Code | HI764-0 | Description | Nitrite Ultra Low Range Reagent
MR Code | MR102 | MR Description | NitrIte 1000 mg/L Standard Solution from NIST NaNO2 in H2O
Preparation Date | 2025/05/22 | Preparation Hour | 09:28 | Preparation Week | 21/2025
FW Hanna Parameter | 45.98 | Measurement Unit | mg/L | STD Matrix | SW2 | STD Exp (days) | 1 | STD Exp (Date) | 2025/05/23 | Storage STD | ROOM
Note |  | Operator | Brigitta P
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI764-0 | Nitrite Ultra Low Range Reagent | CP-R31 | 14.007 | µg/L | 0 |  | 96.36 | 10 | 96.36 | SW2 | 250 | 1 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR102 | NitrIte 1000 mg/L Standard Solution from NIST NaNO2 in H2O | L |  | 1198990500 | 100 % | 1000 | mg/L | NO2 | 45.98
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 40 | .328 | .328 | 0 | 0 % | -
3 | 160 | 1.313 | 1.313 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 5/22/2025 9:30:46 AM | 0A | HC20925699 | 2 | 40 | µg/L | 0.328 | 0.328 | SARTORIUS | 98.67 | Brigitta P |  | SARTORIUS | 1 ML |  | BRAND | 5/22/2025 | 1198990500 | 2025/09/01
2 | 5/22/2025 9:31:07 AM | 0A | HC20925699 | 3 | 160 | µg/L | 1.313 | 1.313 | SARTORIUS 1 ML | 96.36 | Brigitta P |  | SARTORIUS 1 ML |  |  | BRAND 250 ML | 5/22/2025 | 1198990500 | 2025/09/01
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI764-0 | 9.636 mL | 2025/05/22 | 09:28 | 21/2025 | 2025/05/22 | 100 mL | 2025/05/27 | 0A | HC20925699 | 56 mL
Preparation Notes
Date | Type | Description | Operator