## Preparation Details
Preparation
Hanna Code | HI767-0 | Description | Marine Nitrite Low Range Reagent
MR Code | MR102 | MR Description | NitrIte 1000 mg/L Standard Solution from NIST NaNO2 in H2O
Preparation Date | 2025/11/12 | Preparation Hour | 11:30 | Preparation Week | 46/2025
FW Hanna Parameter | 45.98 | Measurement Unit | mg/L | STD Matrix | SW2 | STD Exp (days) | 1 | STD Exp (Date) | 2025/11/13 | Storage STD | ROOM
Note |  | Operator | Kinga
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI767-0 | Marine Nitrite Low Range Reagent | CP-R31 | 14.007 | µg/L | 0 |  | 91.8 | 10 | 91.8 | SW2 | 250 | 1 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR102 | NitrIte 1000 mg/L Standard Solution from NIST NaNO2 in H2O | L |  | 1198990500 | 100 % | 1000 | mg/L | NO2 | 45.98
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 200 | 1.641 | 1.641 | 0 | 0 % | -
3 | 800 | 6.565 | 6.565 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 11/12/2025 11:31:06 AM | 0B | HC32789399 | 2 | 200 | µg/L | 1.641 | 1.641 | SARTORIUS | 98.36 | Kinga |  | SARTORIUS | 5 ML | VWR 250 | VWR 250 | 11/12/2025 | 1198990500 | 2026/05/02
2 | 11/12/2025 11:31:24 AM | 0B | HC32789399 | 3 | 800 | µg/L | 6.565 | 6.565 | SARTORIUS | 91.8 | Kinga |  | SARTORIUS | 10 ML | VWR 250 | VWR 250 | 11/12/2025 | 1198990500 | 2026/05/02
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI767-0 | 9.180 mL | 2025/11/12 | 11:30 | 46/2025 | 2025/11/12 | 100 mL | 2025/11/17 | 0B | HC32789399 | 300.51 mL
Preparation Notes
Date | Type | Description | Operator