## Preparation Details
Preparation
Hanna Code | HI772S | Description
Preparation Date | 2025/01/28 | Preparation Hour | 12:23 | Preparation Week | 5/2025
|  |  |  | STD Matrix | DW | STD Exp (days) | 180 | STD Exp (Date) | 2025/07/27 | Storage STD | Refrigeretor
Note |  | Operator | Brigita T
STD Volume/Weight | 500
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR05 | 5000 | 2.84 | 2.84 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 1/28/2025 12:25:09 PM | 0A | 0000200797 | MR05 | 5000 | mg/L | 2.84 | 2.84 |  | 19.51 g | Brigita T |  |  |  | BAL114CQC01 | ISO LAB 500ML | 1063950050
Preparation Notes
Date | Type | Description | Operator