## Preparation Details
Preparation
Hanna Code | HI772S | Description | Alkalinity Reagent
MR Code | MR103 | MR Description
Preparation Date | 2024/12/18 | Preparation Hour | 08:21 | Preparation Week | 51/2024
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | SW2 | STD Exp (days) | 10 | STD Exp (Date) | 2024/12/28 | Storage STD | refrigerator
Note |  | Operator | Brigita T
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI772S | Alkalinity Reagent | B104 | 100.0869 | mg/L | 1 |  | 100 |  | 100 | SW2 | 250 | 10 | refrigerator
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MPN | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR103 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 5 | 1.25 | 0 | 1.25 | 0 % | -
3 | 150 | 37.5 | 37.5 | 0 | 0 % | -
4 | 250 | 62.5 | 62.5 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date
1 | 12/18/2024 8:22:05 AM | 0A | LRAD7929 | 3 | 150 | mg/L | 37.5 | 37.5 | gLASS PIPETTE | 349.00 mL | Brigita T |  | gLASS PIPETTE |  |  | VWR 250 ML | 12:00:00 AM
2 | 12/18/2024 8:22:23 AM | 0A | LRAD7929 | 4 | 250 | mg/L | 62.5 | 62.5 | Glass pipette | 286.50 mL | Brigita T |  | Glass pipette |  |  | VWR 250 ML | 12:00:00 AM
Preparation Notes
Date | Type | Description | Operator