## Preparation Details
Preparation
Hanna Code | HI772S | Description | Alkalinity Reagent
MR Code | MR103 | MR Description | Alkalinity, CaCO3 1000 mg/L Calibration Standard CRM
Preparation Date | 2025/07/14 | Preparation Hour | 10:48 | Preparation Week | 29/2025
FW Hanna Parameter | 100.0869 | Measurement Unit | mg/L | STD Matrix | SW2 | STD Exp (days) | 10 | STD Exp (Date) | 2025/07/24 | Storage STD | refrigerator
Note |  | Operator | Salome
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI772S | Alkalinity Reagent | B104 | 100.0869 | mg/L | 1 |  | 100 |  | 100 | SW2 | 250 | 10 | refrigerator
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR103 | Alkalinity, CaCO3 1000 mg/L Calibration Standard CRM | L |  | ALK1000-500ML | 100 % | 1000 | mg/L | CaCO3 | 100.0869
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 5 | 1.25 | 0 | 1.25 | 0 % | -
2 | 50 | 12.5 | 12.5 | 0 | 0 % | -
3 | 150 | 37.5 | 37.5 | 0 | 0 % | -
4 | 250 | 62.5 | 62.5 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 7/14/2025 10:49:48 AM | 0I | LRAE0506 | 2 | 50 | mg/L | 12.5 | 12.5 | GLASS 20 ML | 32.00 mL | Salome |  | GLASS 20 ML |  | / | VWR 250 ML
2 | 7/14/2025 10:50:45 AM | 0I | LRAE0506 | 3 | 150 | mg/L | 37.5 | 32 | GLASS 20,25 ML | -0.50 mL | Salome |  | GLASS 20,25 ML |  | / | VWR 250 ML
3 | 7/14/2025 10:52:15 AM | 0B | LRAE0506 | 3 | 150 | mg/L | 5.5 | 5.5 | GLASS 20 ML | 469.00 mL | Salome |  | GLASS 20 ML |  | / | VWR 250 ML
4 | 7/14/2025 10:53:30 AM | 0B | LRAE0506 | 4 | 250 | mg/L | 62.5 | 62.5 | GLASS PIPETTE | 405.50 mL | Salome |  | GLASS PIPETTE |  | / | VWR 250 ML
Preparation Notes
Date | Type | Description | Operator