## Preparation Details
Preparation
Hanna Code | HI774-0 | Description | Phosphate ULR Reagent
MR Code | MR104 | MR Description | Phosphate 1000 mg/L Standard Solution from NIST KH2PO4 in H2O
Preparation Date | 2025/10/30 | Preparation Hour | 09:51 | Preparation Week | 44/2025
FW Hanna Parameter | 94.97 | Measurement Unit | mg/L | STD Matrix | SW2 | STD Exp (days) | 2 | STD Exp (Date) | 2025/11/01 | Storage STD | ROOM
Note | SW 2 MR 104 | Operator | Kinga
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI774-0 | Phosphate ULR Reagent | CP-R71 | 94.97 | mg/L | 2 |  | 95.5 | 10 | 95.5 | SW2 | 500 | 2 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR104 | Phosphate 1000 mg/L Standard Solution from NIST KH2PO4 in H2O | L |  | 1198980500 | 100 % | 1000 | mg/L | PO4 | 94.97
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | .18 | .9 | .9 | 0 | 0 % | -
3 | .72 | 3.6 | 3.6 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 10/30/2025 9:53:21 AM | 0A | HC46262790 | 2 | 0.18 | mg/L | 0.9 | 0.9 | SARTORIUS | 99.1 | Kinga |  | SARTORIUS | 5 ML | 2 | ISOLAB 500 ML | 10/30/2025 | 1198980500 | 2027/09/01
2 | 10/30/2025 9:53:40 AM | 0A | HC46262790 | 3 | 0.72 | mg/L | 3.6 | 3.6 | SARTORIUS | 95.5 | Kinga |  | SARTORIUS | 1 ML | 2 | ISOLAB 500 ML | 10/30/2025 | 1198980500 | 2027/09/01
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI774-0 | 9.550 mL | 2025/10/30 | 09:51 | 44/2025 | 2025/10/30 | 100 mL | 2025/11/04 | 0A | HC46262790 | 337.9 mL | SW 2
Preparation Notes
Date | Type | Description | Operator