## Preparation Details
Preparation
Hanna Code | HI775S | Description | Alkalinity Reagent
MR Code | MR103 | MR Description | Alkalinity, CaCO3 1000 mg/L Calibration Standard CRM
Preparation Date | 2025/01/09 | Preparation Hour | 09:37 | Preparation Week | 2/2025
FW Hanna Parameter | 100.0869 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/01/14 | Storage STD | Refrigerator
Note |  | Operator | Brigita T
STD Volume/Weight | 200
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI775S | Alkalinity Reagent | B106 | 100.0869 | mg/L | 0 |  | 100 |  | 100 | DWA | 200 | 5 | Refrigerator
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR103 | Alkalinity, CaCO3 1000 mg/L Calibration Standard CRM | L |  | ALK1000-500ML | 100 % | 1000 | mg/L | CaCO3 | 100.0869
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 100 | 20 | 20 | 0 | 0 % | -
2 | 200 | 40 | 40 | 0 | 0 % | -
3 | 400 | 80 | 80 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 1/9/2025 9:56:58 AM | 0A | LRAD7929 | 1 | 100 | mg/L | 20 | 20 | Glass pipette: 50 ml | 266.50 mL | Brigita T |  | Glass pipette: 50 ml |  |  | ISO LAB 200 ml | 12:00:00 AM
2 | 1/9/2025 9:57:22 AM | 0A | LRAD7929 | 2 | 200 | mg/L | 40 | 40 | Glass pipette 50 ml | 226.50 mL | Brigita T |  | Glass pipette 50 ml |  |  | ISO LAB 200 ml | 12:00:00 AM
3 | 1/9/2025 9:57:38 AM | 0A | LRAD7929 | 3 | 400 | mg/L | 80 | 80 | Glass pipette 50 ml | 146.50 mL | Brigita T |  | Glass pipette 50 ml |  |  | ISO LAB 200 ml | 12:00:00 AM
Preparation Notes
Date | Type | Description | Operator