## Preparation Details
Preparation
Hanna Code | HI775S | Description | Alkalinity Reagent
MR Code | MR103 | MR Description | Alkalinity, CaCO3 1000 mg/L Calibration Standard CRM
Preparation Date | 2025/07/15 | Preparation Hour | 12:28 | Preparation Week | 29/2025
FW Hanna Parameter | 100.0869 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/07/20 | Storage STD | Refrigerator
Note |  | Operator | Salome
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI775S | Alkalinity Reagent | B106 | 100.0869 | mg/L | 0 |  | 100 |  | 100 | DWA | 250 | 5 | Refrigerator
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR103 | Alkalinity, CaCO3 1000 mg/L Calibration Standard CRM | L |  | ALK1000-500ML | 100 % | 1000 | mg/L | CaCO3 | 100.0869
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 100 | 25 | 25 | 0 | 0 % | -
2 | 200 | 50 | 50 | 0 | 0 % | -
3 | 400 | 100 | 100 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 7/15/2025 12:29:39 PM | 0B | LRAE0506 | 1 | 100 | mg/L | 25 | 25 | SARTORIUS | 379.50 mL |  |  | SARTORIUS |  | BRAND 250 ML
2 | 7/15/2025 12:30:00 PM | 0B | LRAE0506 | 2 | 200 | mg/L | 50 | 50 | SARTORIUS | 328.50 mL |  |  | SARTORIUS |  | BRAND 250 ML
3 | 7/15/2025 12:30:31 PM | 0B | LRAE0506 | 3 | 400 | mg/L | 100 | 100 | SARTORIUS | 227.50 mL |  |  | SARTORIUS |  | BRAND 250 ML
Preparation Notes
Date | Type | Description | Operator