## Preparation Details
Preparation
Hanna Code | HI781A-0 | Description | Marine Nitrate LR Reagent A
MR Code | MR101 | MR Description
Preparation Date | 2025/05/21 | Preparation Hour | 08:08 | Preparation Week | 21/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | SW | STD Exp (days) | 3 | STD Exp (Date) | 2025/05/24 | Storage STD | ROOM
Note |  | Operator | Brigita T
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI781A-0 | Marine Nitrate LR Reagent A | CP-B205 | 61.97 | mg/L | 2 |  | 100 |  | 100 | SW | 500 | 3 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR101 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
2 | 1.02 | .51 | .51 | 0 | 0 % | -
3 | 2.52 | 1.26 | 1.26 | 0 | 0 % | -
4 | 4.03 | 2.015 | 2.015 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 5/21/2025 8:21:11 AM | 0E | BCCL6390 | 2 | 1.02 | mg/L | 0.51 | 0.51 | SARTORIUS | 8.32 mL | Brigita T |  | SARTORIUS |  |  | ISO LAB 500ML
2 | 5/21/2025 8:22:54 AM | 0E | BCCL6390 | 3 | 2.52 | mg/L | 1.26 | 1.26 | SARTORIUS | 2.06 mL | Brigita T |  | SARTORIUS |  |  | ISO LAB 500ML
3 | 5/21/2025 8:23:35 AM | 0E | BCCL6390 | 4 | 4.03 | mg/L | 2.015 | 2.015 | SARTORIUS | -4.96 mL | Brigita T |  | SARTORIUS |  |  | ISO LAB 500ML
Preparation Notes
Date | Type | Description | Operator