## Preparation Details
Preparation
Hanna Code | HI781A-0 | Description | Marine Nitrate LR Reagent A
MR Code | MR101 | MR Description
Preparation Date | 2025/07/09 | Preparation Hour | 14:55 | Preparation Week | 28/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | SW | STD Exp (days) | 3 | STD Exp (Date) | 2025/07/12 | Storage STD | ROOM
Note |  | Operator | Salome
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI781A-0 | Marine Nitrate LR Reagent A | CP-B205 | 61.97 | mg/L | 2 |  | 100 |  | 100 | SW | 500 | 3 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR101 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
3 | 2.52 | 1.26 | 1.26 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 7/9/2025 2:55:53 PM | 0C | BCCM4485 | 3 | 2.52 | mg/L | 1.26 | 1.26 | SARTORIUS | 30.66 mL | Brigitta P |  | SARTORIUS
Preparation Notes
Date | Type | Description | Operator