## Preparation Details
Preparation
Hanna Code | HI782-0 | Description | Marine Nitrate HR Reagent
MR Code | MR101 | MR Description | Nitrate 1000 mg/L Standard Solution from NIST NaNO3 in H2O
Preparation Date | 2025/10/01 | Preparation Hour | 18:17 | Preparation Week | 40/2025
FW Hanna Parameter | 61.97 | Measurement Unit | mg/L | STD Matrix | SW4 | STD Exp (days) | 3 | STD Exp (Date) | 2025/10/04 | Storage STD | ROOM
Note |  | Operator | Andrea V
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI782-0 | Marine Nitrate HR Reagent | CP-R80 | 61.97 | mg/L | 1 |  | 100 |  | 100 | SW4 | 500 | 3 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR101 | Nitrate 1000 mg/L Standard Solution from NIST NaNO3 in H2O | L |  | 1198110500 | 100 % | 1000 | mg/L | NO3 | 61.97
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 15 | 7.5 | .5 | 7 | 0 % | -
3 | 35 | 17.5 | 17.5 | 0 | 0 % | -
4 | 60 | 30 | 30 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 10/1/2025 6:29:10 PM | 0H | BCCM4485 | 2 | 15 | mg/L | 7.5 | 0.5 | SARTORIUS | 0.00 mL | Andrea V |  | SARTORIUS |  | VWR 500ML
2 | 10/1/2025 6:29:46 PM | 0F | BCCM4485 | 3 | 35 | mg/L | 17.5 | 17.5 | SARTORIUS | 82.50 mL | Andrea V |  | SARTORIUS |  | VWR 500ML
3 | 10/1/2025 6:30:13 PM | 0F | BCCM4485 | 4 | 60 | mg/L | 30 | 30 | SARTORIUS | 52.50 mL | Andrea V |  | SARTORIUS |  | 10ML | VWR500ML
Preparation Notes
Date | Type | Description | Operator