## Preparation Details
Preparation
Hanna Code | HI782-0 | Description | Marine Nitrate HR Reagent
MR Code | MR101 | MR Description | Nitrate 1000 mg/L Standard Solution from NIST NaNO3 in H2O
Preparation Date | 2025/03/24 | Preparation Hour | 06:19 | Preparation Week | 13/2025
FW Hanna Parameter | 61.97 | Measurement Unit | mg/L | STD Matrix | SW4 | STD Exp (days) | 3 | STD Exp (Date) | 2025/03/27 | Storage STD | ROOM
Note |  | Operator | Monika
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI782-0 | Marine Nitrate HR Reagent | CP-R80 | 61.97 | mg/L | 1 |  | 100 |  | 100 | SW4 | 500 | 3 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR101 | Nitrate 1000 mg/L Standard Solution from NIST NaNO3 in H2O | L |  | 1198110500 | 100 % | 1000 | mg/L | NO3 | 61.97
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 15 | 7.5 | 7.5 | 0 | 0 % | -
3 | 35 | 17.5 | 17.5 | 0 | 0 % | -
4 | 60 | 30 | 30 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 3/24/2025 6:22:42 AM | 0C | BCCL6390 | 2 | 15 | mg/L | 7.5 | 7.5 | Micropipette SARTORIUS 10 ML | 72.68 mL | Monika |  | Micropipette SARTORIUS 10 ML |  |  | 500 ML ISOLAB
2 | 3/24/2025 6:23:00 AM | 0C | BCCL6390 | 3 | 35 | mg/L | 17.5 | 17.5 | Micropipette SARTORIUS 10 ML | 55.18 mL | Monika |  | Micropipette SARTORIUS 10 ML |  |  | 500 ML ISOLAB
3 | 3/24/2025 6:23:48 AM | 0C | BCCL6390 | 4 | 60 | mg/L | 30 | 30 | Glass pipette 25ML+Micropipette SARTORIUS 5 ML | 25.18 mL | Monika |  | Glass pipette 25ML+Micropipette SARTORIUS 5 ML |  |  | 500 ML ISOLAB
Preparation Notes
Date | Type | Description | Operator