## Preparation Details
Preparation
Hanna Code | HI782-0 | Description | Marine Nitrate HR Reagent
MR Code | MR101 | MR Description
Preparation Date | 2025/03/26 | Preparation Hour | 06:26 | Preparation Week | 13/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | SW4 | STD Exp (days) | 3 | STD Exp (Date) | 2025/03/29 | Storage STD | ROOM
Note |  | Operator | Brigitta P
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI782-0 | Marine Nitrate HR Reagent | CP-R80 | 61.97 | mg/L | 1 |  | 100 |  | 100 | SW4 | 500 | 3 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR101 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 15 | 7.5 | 7.5 | 0 | 0 % | -
4 | 60 | 30 | 30 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 3/26/2025 6:26:35 AM | 0C | BCCL6390 | 2 | 15 | mg/L | 7.5 | 3.68 | SARTORIUS | 0.00 mL | Brigitta P |  | SARTORIUS |  | 10ML | ISOLAB 500ml
2 | 3/26/2025 6:26:53 AM | 0D | BCCL6390 | 4 | 60 | mg/L | 30 | 30 | SARTORIUS | 70.00 mL | Brigitta P |  | SARTORIUS |  | 10ML | ISOLAB 500ml
3 | 3/26/2025 6:27:09 AM | 0D | BCCL6390 | 2 | 15 | mg/L | 3.82 | 3.82 | SARTORIUS | 66.18 mL | Brigitta P |  | SARTORIUS |  | 10ML | ISOLAB 500ml
Preparation Notes
Date | Type | Description | Operator