## Preparation Details
Preparation
Hanna Code | HI783A-0 | Description
Preparation Date | 2025/03/26 | Preparation Hour | 11:15 | Preparation Week | 13/2025
|  |  |  | STD Matrix | SW5 | STD Exp (days) | 30 | STD Exp (Date) | 2025/04/25 | Storage STD | Refrigeretor
Note |  | Operator | Brigita T
STD Volume/Weight | 200
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR100 | 1100 | 22 | 22 | 0 | 0 % | -
MR60 | 1100 | 8 | 8 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 3/26/2025 11:19:34 AM | 0E | HC45480079 | MR100 | 1100 | mg/L | 22 | 22 | Sartorius | 78.00 mL | Brigita T |  | Sartorius |  |  | ISO LAB 200 ml | 1703790100
2 | 3/26/2025 11:19:47 AM | 0N | BCCJ7117 | MR60 | 1100 | mg/L | 8 | 8 | Sartorius | 72.40 mL | Brigita T |  | Sartorius |  |  | ISO LAB 200 ml | 94458-100ML | 2026/08/02
Preparation Notes
Date | Type | Description | Operator