## Preparation Details
Preparation
Hanna Code | HI783IND-0 | Description
Preparation Date | 2025/01/22 | Preparation Hour | 15:46 | Preparation Week | 4/2025
|  |  |  | STD Matrix | SW5 | STD Exp (days) | 30 | STD Exp (Date) | 2025/02/21 | Storage STD | Refrigeretor
Note |  | Operator | Brigita T
STD Volume/Weight | 200
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR100 | 1400 | 28 | 28 | 0 | 0 % | -
MR60 | 1400 | 8 | 8 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 1/22/2025 3:48:36 PM | 0C | HC45480079 | MR100 | 1400 | mg/L | 28 | 28 | Sartorius | 63.50 mL | Brigita T |  | Sartorius |  |  | VWR 200ML | 1703790100
2 | 1/22/2025 3:48:59 PM | 0L | BCCJ7117 | MR60 | 1400 | mg/L | 8 | 8 | Sartorius | 74.70 mL | Brigita T |  | Sartorius |  |  | VWR 200ML | 94458-100ML | 2026/10/15
Preparation Notes
Date | Type | Description | Operator