## Preparation Details
Preparation
Hanna Code | HI783IND-0 | Description | 1700 PPM
Preparation Date | 2025/01/23 | Preparation Hour | 11:11 | Preparation Week | 4/2025
|  |  |  | STD Matrix | SW5 | STD Exp (days) | 30 | STD Exp (Date) | 2025/02/22 | Storage STD | REFRIGERATOR
Note | 1700ppm Mg+400ppm Ca | Operator | Brigitta P
STD Volume/Weight | 200
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR60 | 0 | 8 | 0 | 8 | 0 % | -
MR100 | 0 | 34 | 34 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 1/23/2025 11:12:57 AM | 0C | HC45480079 | MR100 | 0 | mg/L | 34 | 34 |  | 29.50 mL | Brigitta P | [5 empty] | 1703790100
Preparation Notes
Date | Type | Description | Operator