## Preparation Details
Preparation
Hanna Code | HI783IND-0 | Description | 1400ppm Mg+400ppm Ca
Preparation Date | 2025/11/28 | Preparation Hour | 14:55 | Preparation Week | 48/2025
|  |  |  | STD Matrix | SW5 | STD Exp (days) | 60 | STD Exp (Date) | 2026/01/27 | Storage STD | Refrigerator
Note | 1400ppm Mg+400ppm Ca | Operator | Andrea V
STD Volume/Weight | 200
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR100 | 1400 | 28 | 28 | 0 | 0 % | -
MR60 | 1400 | 8 | 8 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 11/28/2025 2:59:00 PM | 0L | HC45480079 | MR100 | 1400 | mg/L | 28 | 15.6 | sartorius | 0.00 mL | Andrea V |  | sartorius |  |  | VWR200ML | 1703790100 | 2028/08/01
2 | 11/28/2025 3:00:15 PM | 0O | HC45480079 | MR100 | 1400 | mg/L | 12.4 | 12.4 | micropipett | 85.60 mL | Andrea V |  | micropipett |  | CH-EQUIP 82 | VWR200ML | 1703790100
3 | 11/28/2025 3:00:37 PM | 0C | BCCM4860 | MR60 | 1400 | mg/L | 8 | 8 | micropipett | 48.40 mL | Andrea V |  | micropipett |  | CH-EQUIP 82 | VWR200ML | 94458-100ML | 2028/09/30
Preparation Notes
Date | Type | Description | Operator