## Preparation Details
Preparation
Hanna Code | HI783IND-0 | Description | 1400ppm MG+400ppm CA
Preparation Date | 2025/12/03 | Preparation Hour | 14:49 | Preparation Week | 49/2025
|  |  |  | STD Matrix | SW5 | STD Exp (days) | 60 | STD Exp (Date) | 2026/02/01 | Storage STD
Note | 1400ppm MG+400ppm CA | Operator | Brigitta P
STD Volume/Weight | 200
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR100 | 1400 | 28 | 28 | 0 | 0 % | -
MR60 | 1400 | 8 | 8 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 12/3/2025 3:04:59 PM | 0O | HC45480079 | MR100 | 1400 | ppm | 28 | 28 | SAETORIUS 10ML | 57.60 mL | Brigitta P |  | SAETORIUS 10ML |  |  | VWR 200ML | 1703790100
2 | 12/3/2025 3:05:20 PM | 0C | BCCM4860 | MR60 | 1400 | ppm | 8 | 8 | SARTORIUS 10ML | 40.40 mL | Brigitta P |  | SARTORIUS 10ML |  |  | VWR 200ML | 94458-100ML | 2028/09/30
Preparation Notes
Date | Type | Description | Operator