## Preparation Details
Preparation
Hanna Code | HI783IND-0 | Description | 1100ppm Mg+400ppm Ca
Preparation Date | 2025/02/10 | Preparation Hour | 21:38 | Preparation Week | 7/2025
|  |  |  | STD Matrix | SW5 | STD Exp (days) | 60 | STD Exp (Date) | 2025/04/11 | Storage STD | Refrigerator
Note | 1100ppm Mg+400ppm Ca | Operator | Brigitta P
STD Volume/Weight | 200
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR60 | 1100 | 8 | 8 | 0 | 0 % | -
MR100 | 1100 | 22 | 22 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 2/10/2025 9:40:55 PM | 0L | BCCJ7117 | MR60 | 1100 | mg/L | 8 | 8 | sartorius 10 ml | 29.00 mL | Brigitta P |  | sartorius 10 ml |  |  | ISOLAB 200 ML | 94458-100ML | 2026/10/15
2 | 2/10/2025 9:41:10 PM | 0B | HC45480079 | MR100 | 1100 | mg/L | 22 | 22 | sartorius 10 ml | 8.00 mL | Brigitta P |  | sartorius 10 ml |  |  | ISOLAB 200 ML | 1703790100 | 2028/08/01
Preparation Notes
Date | Type | Description | Operator