## Preparation Details
Preparation
Hanna Code | HI783IND-0 | Description
Preparation Date | 2025/02/12 | Preparation Hour | 09:50 | Preparation Week | 7/2025
|  |  |  | STD Matrix | SW5 | STD Exp (days) | 30 | STD Exp (Date) | 2025/03/14 | Storage STD | REFRIGERETOR
Note |  | Operator | Monika
STD Volume/Weight | 200
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR100 | 1700 | 34 | 34 | 0 | 0 % | -
MR60 | 1700 | 8 | 8 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 2/12/2025 9:54:43 AM | 0C | HC45480079 | MR100 | 1700 | mg/L | 34 | 34 | Glass pipette 25+sartorius 10 ml | 43.00 mL | Monika |  | Glass pipette 25+sartorius 10 ml |  |  | ISOLAB 200 ML | 1703790100 | 2028/08/01
2 | 2/12/2025 9:55:06 AM | 0M | BCCJ7117 | MR60 | 1700 | mg/L | 8 | 8 | sartorius 10 ml | 82.00 mL | Monika |  | sartorius 10 ml |  |  | ISOLAB 200 ML | 94458-100ML
Preparation Notes
Date | Type | Description | Operator