## Preparation Details
Preparation
Hanna Code | HI783IND-0 | Description | 1100ppm Mg+400ppm Ca
Preparation Date | 2025/02/13 | Preparation Hour | 12:31 | Preparation Week | 7/2025
|  |  |  | STD Matrix | SW5 | STD Exp (days) | 60 | STD Exp (Date) | 2025/04/14 | Storage STD
Note | 1100ppm Mg+400ppm Ca | Operator | Brigitta P
STD Volume/Weight | 200
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR60 | 1100 | 8 | 8 | 0 | 0 % | -
MR100 | 1100 | 22 | 22 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 2/13/2025 12:34:59 PM | 0M | BCCJ7117 | MR60 | 1100 | mg/L | 8 | 8 | SARTORIUS | 72.00 mL | Brigitta P |  | SARTORIUS |  | 10ML | ISO LAB 200 ml | 94458-100ML
2 | 2/13/2025 12:35:14 PM | 0C | HC45480079 | MR100 | 1100 | mg/L | 22 | 22 | SARTORIUS | 19.00 mL | Brigitta P |  | SARTORIUS |  | 10ML | ISO LAB 200 ml | 1703790100 | 2028/08/01
Preparation Notes
Date | Type | Description | Operator