## Preparation Details
Preparation
Hanna Code | HI783IND-0 | Description | 1700
Preparation Date | 2025/04/23 | Preparation Hour | 13:22 | Preparation Week | 17/2025
|  |  |  | STD Matrix | SW5 | STD Exp (days) | 30 | STD Exp (Date) | 2025/05/23 | Storage STD | REFRIGERATOR
Note |  | Operator | Brigitta P
STD Volume/Weight | 200
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR100 | 1700 | 34 | 34 | 0 | 0 % | -
MR60 | 1700 | 8 | 8 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 4/23/2025 1:24:25 PM | 0H | HC45480079 | MR100 | 1700 | mg/L | 34 | 34 | sartorius | 66.00 mL | Brigitta P |  | sartorius |  |  |  | 1703790100 | 2028/06/02
2 | 4/23/2025 1:24:37 PM | 0N | BCCJ7117 | MR60 | 1700 | mg/L | 8 | 8 | sartorius | 39.60 mL | Brigitta P |  | sartorius |  |  |  | 94458-100ML | 2026/08/02
Preparation Notes
Date | Type | Description | Operator