## Preparation Details
Preparation
Hanna Code | HI783IND-0 | Description
Preparation Date | 2025/06/26 | Preparation Hour | 14:33 | Preparation Week | 26/2025
|  |  |  | STD Matrix | SW | STD Exp (days) | 30 | STD Exp (Date) | 2025/07/26 | Storage STD | Refrigeretor
Note |  | Operator | Monika
STD Volume/Weight | 200
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR60 | 1400 | 8 | 8 | 0 | 0 % | -
MR100 | 1400 | 28 | 28 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 6/26/2025 2:34:16 PM | 0O | BCCJ7117 | MR60 | 1400 | mg/L | 8 | 8 | Glass pipette | 67.50 mL | Brigita T |  | Glass pipette |  |  | ISO LAB 200 ML | 94458-100ML | 2026/10/31
2 | 6/26/2025 2:34:30 PM | 0F | HC45480079 | MR100 | 1400 | mg/L | 28 | 28 | Glass pipette | 50.00 mL | Brigita T |  | Glass pipette |  |  | ISO LAB 200 ML | 1703790100
Preparation Notes
Date | Type | Description | Operator