## Preparation Details
Preparation
Hanna Code | HI783IND-0 | Description | 1100 ppm Mg+400 ppm Ca
Preparation Date | 2025/07/01 | Preparation Hour | 09:39 | Preparation Week | 27/2025
|  |  |  | STD Matrix | SW5 | STD Exp (days) | 30 | STD Exp (Date) | 2025/07/31 | Storage STD | REFRIGERATOR
Note | MR100+MR60+SW5 | Operator | Brigitta P
STD Volume/Weight | 200
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR100 | 1100 | 22 | 22 | 0 | 0 % | -
MR60 | 1100 | 8 | 8 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 7/1/2025 9:40:57 AM | 0F | HC45480079 | MR100 | 1100 | mg/L | 22 | 16 | SARTORIUS | 0.00 mL | Brigitta P |  | SARTORIUS |  | ISOLAB 200 ML |  | 1703790100
2 | 7/1/2025 9:41:09 AM | 0O | BCCJ7117 | MR60 | 1100 | mg/L | 8 | 8 | SARTORIUS | 51.50 mL | Brigitta P |  | SARTORIUS |  | ISOLAB 200 ML |  | 94458-100ML | 2026/10/31
3 | 7/1/2025 9:41:21 AM | 0G | HC45480079 | MR100 | 1100 | mg/L | 6 | 6 | SARTORIUS | 6.00 mL | Brigitta P |  | SARTORIUS |  | ISOLAB 200 ML |  | 1703790100 | 2028/08/01
Preparation Notes
Date | Type | Description | Operator