## Preparation Details
Preparation
Hanna Code | HI783IND-0 | Description | 1100 ppm Mg+400ppm Ca
Preparation Date | 2025/09/16 | Preparation Hour | 13:57 | Preparation Week | 38/2025
|  |  |  | STD Matrix | sw5 | STD Exp (days) | 30 | STD Exp (Date) | 2025/10/16 | Storage STD | refrigerator
Note | 1100 ppm Mg | Operator | Brigitta P
STD Volume/Weight | 200
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR60 | 1100 | 8 | 8 | 0 | 0 % | -
MR100 | 1100 | 22 | 22 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 9/16/2025 2:00:13 PM | 0C | BCCM4860 | MR60 | 1100 | mg/L | 8 | 8 | sartorius 10 ml | 74.00 mL | Brigitta P |  | sartorius 10 ml |  |  | VWR 200ML | 94458-100ML
2 | 9/16/2025 2:01:15 PM | 0L | HC45480079 | MR100 | 1100 | mg/L | 22 | 22 | sartorius 10 ml | 64.80 mL | Brigitta P |  | sartorius 10 ml |  |  | VWR 200ML | 1703790100
Preparation Notes
Date | Type | Description | Operator