## Preparation Details
Preparation
Hanna Code | HI783IND-0 | Description | Marine Magnesium Reagent
MR Code | MR100 | MR Description
Preparation Date | 2025/10/10 | Preparation Hour | 11:18 | Preparation Week | 41/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | SW5 + 400 ppm Ca (MR60) | STD Exp (days) | 2 | STD Exp (Date) | 2025/10/12 | Storage STD | ROOM
Note |  | Operator | Salome
STD Volume/Weight | 200
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI783IND-0 | Marine Magnesium Reagent | CP-R83 | 24.3 | mg/L | 0 |  | 100 |  | 100 | SW5 + 400 ppm Ca (MR60) | 200 | 2 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR100 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 1100 | 22 | 22 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 10/10/2025 11:18:52 AM | 0L | HC45480079 | 1 | 1100 | mg/L | 22 | 22 | SARTORIUS | 20.00 mL | Salome |  | SARTORIUS |  |  | VWR 200ML
Preparation Notes
Date | Type | Description | Operator