## Preparation Details
Preparation
Hanna Code | HI784A-0 | Description | Marine Ammonia Reagent A
MR Code | MR09 | MR Description | Ammonium 1000 mg/l Standard Solution from NIST NH4Cl in H2O
Preparation Date | 2025/03/21 | Preparation Hour | 08:29 | Preparation Week | 12/2025
FW Hanna Parameter | 18 | Measurement Unit | mg/L | STD Matrix | SW4 | STD Exp (days) | 1 | STD Exp (Date) | 2025/03/22 | Storage STD | ROOM
Note |  | Operator | Brigitta P
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI784A-0 | Marine Ammonia Reagent A | CP-B209 | 17.007 | mg/L | 2 |  | 100 |  | 100 | SW4 | 500 | 1 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR09 | Ammonium 1000 mg/l Standard Solution from NIST NH4Cl in H2O | L | 0.99 | 1198120500 | 100 % | 1000 | mg/L | NH4 | 18
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | .4 | .212 | .212 | 0 | 0 % | -
3 | 1.25 | .661 | .661 | 0 | 0 % | -
4 | 2.1 | 1.111 | 1.111 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 3/21/2025 8:29:30 AM | 0A | HC31103212 | 2 | 0.4 | mg/L | 0.212 | 0.212 | SARRTORIUS | 331.78 mL | Brigitta P |  | SARRTORIUS |  | 0.3 ML | 500 ML VWR
2 | 3/21/2025 8:29:53 AM | 0A | HC31103212 | 3 | 1.25 | mg/L | 0.661 | 0.661 | SARTORIUS | 331.12 mL | Brigitta P |  | SARTORIUS |  | 1ML | 500 ML ISOLAB
3 | 3/21/2025 8:30:20 AM | 0A | HC31103212 | 4 | 2.1 | mg/L | 1.111 | 1.111 | SARTORIUS | 330.01 mL | Brigitta P |  | SARTORIUS |  | 1ML\0.3ML | 500 ML ISOLAB
Preparation Notes
Date | Type | Description | Operator