## Preparation Details
Preparation
Hanna Code | HI784A-0 | Description | Marine Ammonia Reagent A
MR Code | MR09 | MR Description
Preparation Date | 2025/05/26 | Preparation Hour | 12:51 | Preparation Week | 22/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | SW4 | STD Exp (days) | 1 | STD Exp (Date) | 2025/05/27 | Storage STD | ROOM
Note |  | Operator | Violeta
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI784A-0 | Marine Ammonia Reagent A | CP-B209 | 17.007 | mg/L | 2 |  | 100 |  | 100 | SW4 | 250 | 1 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR09 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | .4 | .106 | .106 | 0 | 0 % | -
4 | 2.1 | .556 | .556 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 5/26/2025 12:54:13 PM | 0A | HC31103212 | 2 | 0.4 | mg/L | 0.106 | 0.106 | SARTORIUS | 145.37 mL | Violeta |  | SARTORIUS |  |  | BRAND 250 ML
2 | 5/26/2025 12:54:54 PM | 0A | HC31103212 | 4 | 2.1 | mg/L | 0.556 | 0.556 | SARTORIUS | 143.81 mL | Violeta |  | SARTORIUS |  |  | VWR 250 ML
Preparation Notes
Date | Type | Description | Operator