## Preparation Details
Preparation
Hanna Code | HI784B-0 | Description | Marine Ammonia Reagent B
MR Code | MR09 | MR Description
Preparation Date | 2025/02/13 | Preparation Hour | 09:38 | Preparation Week | 7/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | SW4 | STD Exp (days) | 1 | STD Exp (Date) | 2025/02/14 | Storage STD | ROOM
Note |  | Operator | Brigita T
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI784B-0 | Marine Ammonia Reagent B | CP-R81 | 17.007 | mg/L | 2 |  | 100 |  | 100 | SW4 | 500 | 1 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR09 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | .4 | .212 | .212 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 2/13/2025 9:45:03 AM | 0A | HC31103212 | 2 | 0.4 | mg/L | 0.212 | 0.212 | Sartorius | 373.02 mL | Brigita T |  | Sartorius |  |  | ISO LAB 500 ml
Preparation Notes
Date | Type | Description | Operator