## Preparation Details
Preparation
Hanna Code | HI784C-0 | Description | Marine Ammonia Reagent C
MR Code | MR09 | MR Description | Ammonium 1000 mg/l Standard Solution from NIST NH4Cl in H2O
Preparation Date | 2025/09/11 | Preparation Hour | 14:17 | Preparation Week | 37/2025
FW Hanna Parameter | 18 | Measurement Unit | mg/L | STD Matrix | SW4 | STD Exp (days) | 1 | STD Exp (Date) | 2025/09/12 | Storage STD | ROOM
Note |  | Operator | Andrea V
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI784C-0 | Marine Ammonia Reagent C | CP-R84 | 17.007 | mg/L | 2 |  | 100 |  | 100 | SW4 | 500 | 1 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR09 | Ammonium 1000 mg/l Standard Solution from NIST NH4Cl in H2O | L | 0.99 | 1198120500 | 100 % | 1000 | mg/L | NH4 | 18
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | .4 | .212 | .212 | 0 | 0 % | -
3 | 1.25 | .661 | .661 | 0 | 0 % | -
4 | 2.1 | 1.111 | 1.111 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 9/11/2025 2:33:53 PM | 0B | HC31103212 | 2 | 0.4 | mg/L | 0.212 | 0.212 | SARTORIUS | 365.79 mL | Andrea V |  | SARTORIUS |  | 1ML | VWR 500ML
2 | 9/11/2025 2:34:14 PM | 0B | HC31103212 | 3 | 1.25 | mg/L | 0.661 | 0.661 | SARTORIUS | 365.13 mL | Andrea V |  | SARTORIUS |  | 1ML | VWR 500ML
3 | 9/11/2025 2:34:36 PM | 0B | HC31103212 | 4 | 2.1 | mg/L | 1.111 | 1.111 | SARTORIUS | 364.02 mL | Andrea V |  | SARTORIUS |  | 5ML | VWR 500ML
Preparation Notes
Date | Type | Description | Operator