## Preparation Details
Preparation
Hanna Code | HI93701-0 | Description | Free Chlorine Reagent
MR Code | MR67C | MR Description | Potassium permanganate solution 0.02 mol (0,01N)
Preparation Date | 2026/02/05 | Preparation Hour | 10.46 | Preparation Week | 6/2026
FW Hanna Parameter | 70906 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 2 | STD Exp (Date) | 2026/02/07 | Storage STD | REFRIGERATOR
Note |  | Operator
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93701-0 | Free Chlorine Reagent | CP-R25 | 70906 | mg/L | 2 |  | 0 | 10 | 0 | DWA | 250 | 2 | REFRIGERATOR
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR67C | Potassium permanganate solution 0.02 mol (0,01N) | L |  | 1091221000 | 100 % | 3547 | mg/L | KMn04 | 70906
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 100 | 70.482 | 70.482 | 0 | 0 % | -
3 | 400 | 281.928 | 281.928 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 05/02/2026 10.46.29 | 0A | HC43910022 | 2 | 100 | mg/L | 70,482 | 70,482 |  | 281,93 |  |  |  |  | SCALE | GLASSWARE | 05/02/2026 | 1091221000 | 2026/12/31
2 | 05/02/2026 10.46.39 | 0A | HC43910022 | 3 | 400 | mg/L | 281,928 | 281,928 |  | 0 |  |  |  |  | SCALE | GLASSWARE | 05/02/2026 | 1091221000 | 2026/12/31
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI93701-0 | 0,000 mL | 2026/02/05 | 10.46 | 6/2026 | 2026/02/05 | 352,41 mL | 2026/04/06 | 0A | HC43910022 | 874759 mL
Preparation Notes
Date | Type | Description | Operator