## Preparation Details
Preparation
Hanna Code | HI93701A-F | Description | Free Chlorine Reagent A
MR Code | MR67C | MR Description | Potassium permanganate 0.02 mol (0,01N)
Preparation Date | 2025/01/27 | Preparation Hour | 12:34 | Preparation Week | 5/2025
FW Hanna Parameter | 70.906 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 1 | STD Exp (Date) | 2025/01/28 | Storage STD | ROOM
Note |  | Operator | Brigitta P
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93701A-F | Free Chlorine Reagent A | CP-B136 | 70.906 | mg/L | 2 |  | 76.61 | 10 | 76.61 | DWA | 250 | 1 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR67C | Potassium permanganate 0.02 mol (0,01N) | L |  | 1603221000 | 100 % | 3547 | mg/L | KMn04 | 70.906
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | .5 | .352 | .352 | 0 | 0 % | -
3 | 2 | 1.41 | 1.41 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 1/27/2025 12:45:22 PM | 0B | HC39978722 | 2 | 0.5 | mg/L | 0.352 | 0.352 | SARTORIUS | 80.02 | Brigitta P |  | SARTORIUS | 1 |  | BRAND 250 | 1/15/2025
2 | 1/27/2025 12:46:13 PM | 0B | HC39978722 | 3 | 2 | mg/L | 1.41 | 1.41 | SARTORIUS 5ML | 76.61 | Brigitta P |  | SARTORIUS 5ML |  |  | BRAND 250 | 1/15/2025
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI93701A-F | 7.661 mL | 2025/01/15 | 08:08 | 3/2025 | 2025/01/15 | 100 mL | 2025/03/16 | 0B | HC39978722 | 560.83 mL
Preparation Notes
Date | Type | Description | Operator