## Preparation Details
Preparation
Hanna Code | HI93701A-T | Description | Total Chlorine Reagent A
MR Code | MR67C | MR Description
Preparation Date | 2025/10/01 | Preparation Hour | 08:32 | Preparation Week | 40/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 1 | STD Exp (Date) | 2025/10/02 | Storage STD | ROOM
Note |  | Operator | Kinga
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93701A-T | Total Chlorine Reagent A | CP-B136 | 70.906 | mg/L | 2 |  | 30.76 | 10 | 30.76 | DWA | 250 | 1 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR67C |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | .5 | .352 | .352 | 0 | 0 % | -
3 | 2 | 1.41 | 1.41 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 10/1/2025 8:36:40 AM | 0B | HC39978722 | 2 | 0.5 | mg/L | 0.352 | 0.352 | SARTORIUS | 34.17 | Kinga |  | SARTORIUS | SARTORIUS | 250 ML | ISO 250 ml | 9/8/2025
2 | 10/1/2025 8:38:32 AM | 0B | HC39978722 | 3 | 2 | mg/L | 1.41 | 1.41 | SARTORIUS | 30.76 | Kinga | 1 | SARTORIUS | 5ML SARTORIUS | 250 ML | ISO 250 ml | 9/8/2025
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI93734C-0 | 3.076 mL | 2025/09/08 | 15:31 | 37/2025 | 2025/09/08 | 100 mL | 2025/11/07 | 0B | HC39978722 | 390.177 mL
Preparation Notes
Date | Type | Description | Operator