## Preparation Details
Preparation
Hanna Code | HI93702-0 | Description | Copper High Range Reagent
MR Code | MR44 | MR Description | Copper 1000 mg/l Standard Solution AAS in nitric acid
Preparation Date | 2025/03/06 | Preparation Hour | 10:44 | Preparation Week | 10/2025
FW Hanna Parameter | 63.546 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 2 | STD Exp (Date) | 2025/03/08 | Storage STD | ROOM
Note |  | Operator | Robert
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93702-0 | Copper High Range Reagent | CP-R26 | 63.546 | mg/L | 2 |  | 100 |  | 100 | DWA | 250 | 2 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR44 | Copper 1000 mg/l Standard Solution AAS in nitric acid | L |  | 38996-250ml | 100 % | 1000 | mg/L | Cu | 63.546
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 1 | .25 | .25 | 0 | 0 % | -
3 | 4 | 1 | 1 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 3/6/2025 10:53:14 AM | 0A | BCCH9264 | 2 | 1 | mg/L | 0.25 | 0.25 | sartorius | 120.80 mL | Robert |  | sartorius |  |  | ISO LAB 250 ml
2 | 3/6/2025 10:53:34 AM | 0A | BCCH9264 | 3 | 4 | mg/L | 1 | 1 | sartorius | 119.80 mL | Robert |  | sartorius |  |  | ISO LAB 250 ml
Preparation Notes
Date | Type | Description | Operator