## Preparation Details
Preparation
Hanna Code | HI93707-0 | Description | Nitrite Low Range Reagent
MR Code | MR102 | MR Description | NitrIte 1000 mg/L Standard Solution from NIST NaNO2 in H2O
Preparation Date | 2025/11/10 | Preparation Hour | 11:47 | Preparation Week | 46/2025
FW Hanna Parameter | 45.98 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 1 | STD Exp (Date) | 2025/11/11 | Storage STD | ROOM
Note |  | Operator | Andrea V
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93707-0 | Nitrite Low Range Reagent | CP-R31 | 14.007 | mg/L | 3 |  | 100 |  | 100 | DWA | 500 | 1 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR102 | NitrIte 1000 mg/L Standard Solution from NIST NaNO2 in H2O | L |  | 1198990500 | 100 % | 1000 | mg/L | NO2 | 45.98
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | .12 | .197 | .197 | 0 | 0 % | -
3 | .48 | .788 | .788 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 11/10/2025 11:48:23 AM | 0B | HC32789399 | 2 | 0.12 | mg/L | 0.197 | 0.197 | SARTORIUS | 333.12 mL | Andrea V |  | SARTORIUS |  | 1ML | VWR 500ML
2 | 11/10/2025 11:48:39 AM | 0B | HC32789399 | 3 | 0.48 | mg/L | 0.788 | 0.788 | SARTORIUS | 332.33 mL | Andrea V |  | SARTORIUS |  | 1ML | VWR 500ML
Preparation Notes
Date | Type | Description | Operator