## Preparation Details
Preparation
Hanna Code | HI93708-0 | Description | Nitrite High Range Reagent
MR Code | MR102 | MR Description
Preparation Date | 2025/06/25 | Preparation Hour | 08:14 | Preparation Week | 26/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/06/30 | Storage STD | ROOM
Note |  | Operator | Kinga
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93708-0 | Nitrite High Range Reagent | CP-R32 | 45.98 | mg/L | 0 |  | 100 |  | 100 | DWA | 250 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR102 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 30 | 7.5 | 7.5 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 6/25/2025 8:15:49 AM | 0B | HC32789399 | 2 | 30 | mg/L | 7.5 | 7.5 | SARTORIUS | 455.66 mL | Kinga |  | SARTORIUS |  |  | ISOLAB 250ML
Preparation Notes
Date | Type | Description | Operator