## Preparation Details
Preparation
Hanna Code | HI93709A-0 | Description | Manganese HR Reagent A
MR Code | MR37 | MR Description | Manganese 1000 mg/l Standard Solution AAS in nitric acid 2%
Preparation Date | 2025/11/07 | Preparation Hour | 10:59 | Preparation Week | 45/2025
FW Hanna Parameter | 54.94 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/11/12 | Storage STD | ROOM
Note |  | Operator | Andrea V
STD Volume/Weight | 200
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93709A-0 | Manganese HR Reagent A | CP-R33 | 54.94 | mg/L | 1 |  | 100 |  | 100 | DWA | 200 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR37 | Manganese 1000 mg/l Standard Solution AAS in nitric acid 2% | L |  | 77036-250 | 100 % | 1000 | mg/L | Mn | 54.94
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 4 | .8 | .8 | 0 | 0 % | -
3 | 16 | 3.2 | 3.2 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 11/7/2025 11:09:32 AM | 0B | BCCL5755 | 2 | 4 | mg/L | 0.8 | 0.8 | SARTORIUS | 192.70 mL | Andrea V |  | SARTORIUS |  | 1ML | ISOLAB 200 ML
2 | 11/7/2025 11:09:51 AM | 0B | BCCL5755 | 3 | 16 | mg/L | 3.2 | 3.2 | SARTORIUS | 189.50 mL | Andrea V |  | SARTORIUS |  | 1ML | ISOLAB 200 ML
Preparation Notes
Date | Type | Description | Operator