## Preparation Details
Preparation
Hanna Code | HI93711-0 | Description | Total Chlorine Reagent
MR Code | MR67C | MR Description | Potassium permanganate 0.02 mol (0,01N)
Preparation Date | 2025/12/15 | Preparation Hour | 09:08 | Preparation Week | 51/2025
FW Hanna Parameter | 70.906 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 1 | STD Exp (Date) | 2025/12/16 | Storage STD | ROOM
Note |  | Operator | Andrea V
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93711-0 | Total Chlorine Reagent | CP-R35 | 70.906 | mg/L | 2 |  | 93.62 | 10 | 93.62 | DWA | 250 | 1 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR67C | Potassium permanganate 0.02 mol (0,01N) | L |  | 1603221000 | 100 % | 3547 | mg/L | KMn04 | 70.906
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 1 | .705 | .705 | 0 | 0 % | -
3 | 4 | 2.819 | 2.819 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 12/15/2025 9:09:44 AM | 0A | HC43910022 | 2 | 1 | mg/L | 0.705 | 0.705 | SARTORIUS CH-EQUIP76 | 96.44 | Andrea V |  | SARTORIUS CH-EQUIP76 | 1ML |  | VWR250ML | 11/7/2025
2 | 12/15/2025 9:09:59 AM | 0A | HC43910022 | 3 | 4 | mg/L | 2.819 | 2.819 | SARTORIUS | 93.62 | Andrea V |  | SARTORIUS | 5ML |  | VWR250ML | 11/7/2025
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI711-0 | 9.362 mL | 2025/11/07 | 10:31 | 45/2025 | 2025/11/07 | 100 mL | 2026/01/06 | 0A | HC43910022 | 980 mL
Preparation Notes
Date | Type | Description | Operator