## Preparation Details
Preparation
Hanna Code | HI93712A-0 | Description | Aluminum Reagent A
MR Code | MR41 | MR Description | Aluminium 1000 mg/l Standard Solution in HNO3 0.5M
Preparation Date | 2025/05/14 | Preparation Hour | 10:10 | Preparation Week | 20/2025
FW Hanna Parameter | 26.98 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 3 | STD Exp (Date) | 2025/05/17 | Storage STD | ROOM
Note |  | Operator | Kinga
STD Volume/Weight | 1000
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93712A-0 | Aluminum Reagent A | CP-R23 | 26.98 | mg/L | 2 |  | 100 |  | 100 | DWA | 1000 | 3 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR41 | Aluminium 1000 mg/l Standard Solution in HNO3 0.5M | L |  | 119770.0500 | 100 % | 1000 | mg/L | Al | 26.98
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | .2 | .2 | .2 | 0 | 0 % | -
3 | .8 | .8 | .8 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 5/14/2025 10:11:20 AM | 0A | HC28811270 | 2 | 0.2 | mg/L | 0.2 | 0.2 | SARTORIUS 1ML | 429.85 mL | Kinga |  | SARTORIUS 1ML |  |  | BRAND 1000ML
2 | 5/14/2025 10:12:18 AM | 0B | HC28811270 | 3 | 0.8 | mg/L | 0.8 | 0.8 | SARTORIUS 1 ML | 499.20 mL | Kinga |  | SARTORIUS 1 ML |  |  | BRAND 1000ML
Preparation Notes
Date | Type | Description | Operator