## Preparation Details
Preparation
Hanna Code | HI93715A-0 | Description | Ammonia Medium Range Reagent A
MR Code | MR09 | MR Description | Ammonium 1000 mg/l Standard Solution from NIST NH4Cl in H2O
Preparation Date | 2025/11/25 | Preparation Hour | 13:39 | Preparation Week | 48/2025
FW Hanna Parameter | 18 | Measurement Unit | mg/L | STD Matrix | DWA + 3 DROPS Sulphuric Reagent | STD Exp (days) | 2 | STD Exp (Date) | 2025/11/27 | Storage STD | ROOM
Note |  | Operator | Andrea V
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93715A-0 | Ammonia Medium Range Reagent A | CP-B134 | 14.007 | mg/L | 2 |  | 100 |  | 100 | DWA + 3 DROPS Sulphuric Reagent | 500 | 2 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR09 | Ammonium 1000 mg/l Standard Solution from NIST NH4Cl in H2O | L | 0.99 | 1198120500 | 100 % | 1000 | mg/L | NH4 | 18
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 2.4 | 1.542 | 1.542 | 0 | 0 % | -
3 | 8 | 5.14 | 5.14 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 11/25/2025 1:42:34 PM | 0B | HC31103212 | 2 | 2.4 | mg/L | 1.542 | 1.542 | CH-EQ UIP80 | 141.20 mL | Andrea V |  | CH-EQ UIP80
2 | 11/25/2025 1:44:59 PM | 0B | HC31103212 | 3 | 8 | mg/L | 5.14 | 5.14 | CH-EQUP82 | 134.06 mL | Andrea V |  | CH-EQUP82 |  |  | ISOLAB 500 ML
Preparation Notes
Date | Type | Description | Operator