## Preparation Details
Preparation
Hanna Code | HI93717B-0 | Description | Phosphate High Range Reagent B
MR Code | MR104 | MR Description | Phosphate 1000 mg/L Standard Solution from NIST KH2PO4 in H2O
Preparation Date | 2025/08/07 | Preparation Hour | 08:18 | Preparation Week | 32/2025
FW Hanna Parameter | 94.97 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/08/12 | Storage STD | ROOM
Note |  | Operator | Andrea V
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93717B-0 | Phosphate High Range Reagent B | CP-R30 | 94.97 | mg/L | 1 |  | 100 |  | 100 | DWA | 500 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR104 | Phosphate 1000 mg/L Standard Solution from NIST KH2PO4 in H2O | L |  | 1198980500 | 100 % | 1000 | mg/L | PO4 | 94.97
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 6 | 3 | 3 | 0 | 0 % | -
3 | 24 | 12 | 12 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 8/7/2025 8:22:28 AM | 0A | HC46262790 | 2 | 6 | mg/L | 3 | 3 |  | 475.64 mL | Andrea V |  |  |  | 5ML | VWR500ML
2 | 8/7/2025 8:22:46 AM | 0A | HC46262790 | 3 | 24 | mg/L | 12 | 12 | SARTORIUS | 463.64 mL | Andrea V |  | SARTORIUS |  | 10ML | VWR500ML
Preparation Notes
Date | Type | Description | Operator