## Preparation Details
Preparation
Hanna Code | HI93719A-0 | Description | Magnesium Hardness Reagent A
MR Code | MR108 | MR Description | Magnesium 1000 mg/L Standard Solution Mg(NO3)2 in HNO3 0.5M
Preparation Date | 2025/07/18 | Preparation Hour | 08:38 | Preparation Week | 29/2025
FW Hanna Parameter | 24.3 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/07/23 | Storage STD | ROOM
Note |  | Operator | Salome
STD Volume/Weight | 1000
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93719A-0 | Magnesium Hardness Reagent A | CP-B149 | 100.09 | mg/L | 2 |  | 92.09 | 10 | 92.09 | DWA | 1000 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR108 | Magnesium 1000 mg/L Standard Solution Mg(NO3)2 in HNO3 0.5M | L |  | 119788 | 100 % | 1000 | mg/L | Mg | 24.3
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | .8 | 1.942 | 1.972 | -.03 | 0 % | -
3 | 1.6 | 3.885 | 3.943 | -.058 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 7/18/2025 8:41:43 AM | 0A | HC32984188 | 2 | 0.8 | mg/L | 1.972 | 1.972 | SARTORIUS | 97.03 | Salome |  | SARTORIUS |  |  | VWR 1000ml | 7/18/2025 | 119788 | 2027/09/01
2 | 7/18/2025 8:42:15 AM | 0A | HC32984188 | 3 | 1.6 | mg/L | 3.943 | 3.943 |  | 92.09 | Salome |  |  | SARTORIUS |  | VWR 1000ml | 7/18/2025 | 119788 | 2027/09/01
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI93719A-0 | 9.209 mL | 2025/07/18 | 08:38 | 29/2025 | 2025/07/18 | 100 mL | 2025/07/23 | 0A | HC32984188 | 70 mL | 10% MS din MR108
Preparation Notes
Date | Type | Description | Operator