## Preparation Details
Preparation
Hanna Code | HI93720A-0 | Description | Calcium Hardness Reagent B
MR Code | MR20 | MR Description | Calcium 1000 mg/l Standard Solution in HNO3 0.5 mol/l
Preparation Date | 2025/03/27 | Preparation Hour | 13:48 | Preparation Week | 13/2025
FW Hanna Parameter | 40.078 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/04/01 | Storage STD | ROOM
Note |  | Operator | Violeta
STD Volume/Weight | 1000
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93720A-0 | Calcium Hardness Reagent B | CP-B149 | 100.09 | mg/L | 2 |  | 100 |  | 100 | DWA | 1000 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR20 | Calcium 1000 mg/l Standard Solution in HNO3 0.5 mol/l | L |  | 1197780500 | 100 % | 1000 | mg/L | Ca | 40.078
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 1 | .4 | .4 | 0 | 0 % | -
3 | 2 | .801 | .801 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 3/27/2025 1:49:30 PM | 0B | HC16142778 | 2 | 1 | mg/L | 0.4 | 0.4 | SARTORIUS 1ML | 457.37 mL | Violeta |  | SARTORIUS 1ML |  |  | VWR
2 | 3/27/2025 1:50:27 PM | 0A | HC20821478 | 3 | 2 | mg/L | 0.801 | 0.801 | SARTORIUS 1ML | 499.20 mL | Violeta |  | SARTORIUS 1ML |  |  | VWR
Preparation Notes
Date | Type | Description | Operator