## Preparation Details
Preparation
Hanna Code | HI93720A-0 | Description | Calcium Hardness Reagent B
MR Code | MR20 | MR Description
Preparation Date | 2025/09/24 | Preparation Hour | 13:45 | Preparation Week | 39/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/09/29 | Storage STD | ROOM
Note |  | Operator | Salome
STD Volume/Weight | 1000
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93720A-0 | Calcium Hardness Reagent B | CP-B149 | 100.09 | mg/L | 2 |  | 100 |  | 100 | DWA | 1000 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR20 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
2 | 1 | .4 | .4 | 0 | 0 % | -
3 | 2 | .801 | .801 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 9/24/2025 2:04:02 PM | 0A | HC20821478 | 2 | 1 | mg/L | 0.4 | 0.4 | Sartorius | 497.80 mL | Salome |  | Sartorius |  | 1ML | VWR 1000 ML
2 | 9/24/2025 2:09:28 PM | 0A | HC20821478 | 3 | 2 | mg/L | 0.801 | 0.801 | SARTORIUS | 496.00 mL | Salome |  | SARTORIUS |  | 1ML | VWR 1000 ML
Preparation Notes
Date | Type | Description | Operator