## Preparation Details
Preparation
Hanna Code | HI93721-0 | Description | Iron High Range Reagent
MR Code | MR33 | MR Description | Iron 1000 mg/l Standard Solution AAS in nitric acid
Preparation Date | 2025/07/22 | Preparation Hour | 10:42 | Preparation Week | 30/2025
FW Hanna Parameter | 55.84 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 2 | STD Exp (Date) | 2025/07/24 | Storage STD | ROOM
Note |  | Operator | Andrea V
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93721-0 | Iron High Range Reagent | CP-R41 | 55.84 | mg/L | 2 |  | 100 |  | 100 | DWA | 500 | 2 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR33 | Iron 1000 mg/l Standard Solution AAS in nitric acid | L |  | 16596-250ML | 100 % | 1000 | mg/L | Fe III | 55.84
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 1 | .5 | .5 | 0 | 0 % | -
3 | 4 | 2 | 2 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 7/22/2025 10:51:49 AM | 0B | BCCM1625 | 2 | 1 | mg/L | 0.5 | 0.5 | SARTORIUS | 245.25 mL | Andrea V |  | SARTORIUS |  | - | 1ML
2 | 7/22/2025 10:52:12 AM | 0B | BCCM1625 | 3 | 4 | mg/L | 2 | 2 | SARTORIUS | 243.25 mL | Andrea V |  | SARTORIUS |  | - | 1ML
Preparation Notes
Date | Type | Description | Operator