## Preparation Details
Preparation
Hanna Code | HI93728-0 | Description | Nitrate Reagent
MR Code | MR101 | MR Description | Nitrate 1000 mg/L Standard Solution from NIST NaNO3 in H2O
Preparation Date | 2025/11/04 | Preparation Hour | 12:40 | Preparation Week | 45/2025
FW Hanna Parameter | 61.97 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 3 | STD Exp (Date) | 2025/11/07 | Storage STD | ROOM
Note |  | Operator | Andrea V
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93728-0 | Nitrate Reagent | CP-R45 | 14.007 | mg/L | 1 |  | 100 |  | 100 | DWA | 250 | 3 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR101 | Nitrate 1000 mg/L Standard Solution from NIST NaNO3 in H2O | L |  | 1198110500 | 100 % | 1000 | mg/L | NO3 | 61.97
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 6 | 6.636 | 6.636 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 11/4/2025 12:49:05 PM | 0F | BCCL6390 | 2 | 6 | mg/L | 6.636 | 6.636 | SARTORIUS | 2.36 mL | Andrea V |  | SARTORIUS |  | 10 | VWR500 ML
2 | 11/4/2025 12:49:34 PM | 0F | BCCL6390 | 3 | 24 | mg/L | 26.545 | 2.36 | SARTORIUS | 0.00 mL | Andrea V |  | SARTORIUS |  | 10 | VWR500 ML
Preparation Notes
Date | Type | Description | Operator