## Preparation Details
Preparation
Hanna Code | HI93728-0 | Description | Nitrate Reagent
MR Code | MR101 | MR Description
Preparation Date | 2025/06/23 | Preparation Hour | 08:43 | Preparation Week | 26/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 3 | STD Exp (Date) | 2025/06/26 | Storage STD | ROOM
Note |  | Operator | Violeta
STD Volume/Weight | 200
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93728-0 | Nitrate Reagent | CP-R45 | 14.007 | mg/L | 1 |  | 100 |  | 100 | DWA | 200 | 3 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR101 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 6 | 5.309 | 5.309 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 6/23/2025 8:46:16 AM | 0B | BCCM4485 | 2 | 6 | mg/L | 5.309 | 5.309 | SARTORIUS 10ML | 74.47 mL | Violeta |  | SARTORIUS 10ML |  |  | ISO LAB 200 ML
Preparation Notes
Date | Type | Description | Operator