## Preparation Details
Preparation
Hanna Code | HI93729-0 | Description | Fluoride Low Range Reagent
MR Code | MR18 | MR Description
Preparation Date | 2025/06/18 | Preparation Hour | 08:37 | Preparation Week | 25/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 3 | STD Exp (Date) | 2025/06/21 | Storage STD | ROOM
Note |  | Operator | Brigita T
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93729-0 | Fluoride Low Range Reagent | CP-B153 | 18.998 | mg/L | 2 |  | 100 |  | 100 | DWA | 500 | 3 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR18 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
4 | 1.6 | .8 | .8 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 6/18/2025 8:38:41 AM | 0A | HC17401114 | 4 | 1.6 | mg/L | 0.8 | 0.8 | GLASS PIPETTE | 291.40 mL | Brigita T |  | GLASS PIPETTE |  |  | ISO LAB 500ML
Preparation Notes
Date | Type | Description | Operator